LATTNER BOILER COMPANY

Sample Specification


Model:  _____ (HP)-HE-_____ (Max. Press.)-NG

1. Specification Summary 

1.1. The steam boiler shall be a high efficiency vertical tubeless boiler of _____ horsepower, designed for _____ psi maximum allowable working pressure. The boiler shall have a maximum output of _____ MBH or _____ pounds of steam per hour when fired with natural gas. The electrical power supplied to the boiler control panel shall be 120 volts, 1 phase, 60 hertz.

2. Structural Characteristics

2.1. The boiler design (pressure vessel) shall provide for patented multi-pass gas travel through solid steel heat conductor loops and be of the modified vertical tubeless style.  The pressure vessel shall be set on a sturdy structural steel welded combustion chamber and base frame.

2.2. The pressure vessel must be built in accordance with the ASME Boiler & Pressure Vessel Code and shall receive authorized boiler inspection and a hydrostatic pressure test, witnessed by an independent authorized inspector.  A copy of the inspection report and boiler data sheet shall be furnished to the purchaser.  

2.3. Threaded connections shall be provided for:

2.3.1. Feedwater make-up;
2.3.2. Steam supply;
2.3.3. Bottom blowdown;
2.3.4. Water level controls.
2.4. Prior to shipment, the complete package shall be fully assembled and electrically tested at the factory. Upon delivery, the unit shall be ready for immediate mounting on a boiler pad, and for the attachment of supply water make-up, steam, fuel, electrical, exhaust venting, and blowdown.
2.5. One removable lifting lug shall be provided on the top centerline of the vessel.

2.6. A minimum of one hand hole in the top head of the pressure vessel shall be provided for waterside inspection.

2.7. The exhaust gas vent shall be located on the top centerline and shall include a draft diverter.

2.8. A removable front bottom burner assembly shall be furnished for combustion chamber inspection. 

2.9. The pressure vessel shall be insulated with 2 inches of compactable mineral wool material. The insulation shall be covered with 22-gauge galvanealed steel outside jacket. Boiler shall be painted using high temperature industrial silicone enamel paint.
3. Steam Boiler Trim
3.1. Primary pump control and low water cut-off (LWCO) shall be a float-type McDonnell Miller device with snap switches to control water level and shut down the boiler in the event of a low water condition.  
3.2. An auxiliary low water cut-off (ALWCO) device of the probe type shall be furnished. If a low water condition occurs, ALWCO shall require a manual reset before normal boiler operation may resume.
3.3. One (1) steam safety valve built in accordance with the ASME Boiler & Pressure Vessel Code shall be provided by the boiler manufacturer.  The valve may be shipped loose to prevent damage during shipment.
3.4. A steam pressure gauge shall be piped on the boiler, located near the operating controls.
3.5. Steam operating controls shall be externally piped and wired on the boiler and shall include as a minimum:
3.5.1. One (1) ON/OFF automatic reset operating pressure control; 
3.5.2. And one (1) excess steam pressure manual reset control. 
3.6. All piping of the controls and trim shall be in accordance with the ASME Boiler & Pressure Vessel Code.  Steam gauge and controls piping shall be near the water column at the side of the boiler.
3.7. The boiler manufacturer shall provide the following valves:
3.7.1. Feedwater stop valve, ball type;

3.7.2. Feedwater check valve, spring-loaded type;

3.7.3. Main steam stop valve;

3.7.4. Control drain valve;

3.7.5. Bottom blowdown valve, quick open type.
4. Burner 
4.1. The boiler’s burner shall be of the atmospheric draft style, designed for operation with natural gas.
4.2. The burners shall be anodized steel with lanced ports and shall be easily removed for servicing.
5. Fuel Specifications and Piping
5.1. Boiler shall be supplied with natural gas burner. The burner assembly shall be mounted, piped, and wired integral with the front of the boiler and its design shall be of the atmospheric multi-port type for natural gas.  
5.2. A pre-piped and wired thermocouple type gas pilot system shall be furnished to ensure safe supervision of the main flame.  An electronic, spark ignited pilot is optional for intermittent pilot operation.
5.3. Main fuel train (factory piped and wired) on the boiler unit shall consist of a combustion gas valve with the main fuel pressure regulator and pilot pressure regulator built-in.  The pilot shall be integral to the valve and the thermocouple shall connect to the valve for 100% gas shut-off in event of flame failure.
6. Control Panel and Flame Safeguard Control
6.1. The control panel shall be NEMA 1 rated and factory pre-wired and mounted on the boiler.  It shall contain the following items as a minimum:
6.1.1. Separate terminals for main power connection;

6.1.2. Terminals for external circuits, field wired;

6.1.3. Control circuit fuse protection;

6.1.4. Burner On/Off switch, mounted on the panel door or panel side;

6.1.5. Pump On/Off switch;

6.1.6. Oil, heat, and moisture resistant wire.
7. Approvals
7.1. All controls shall meet the requirements of ASME Boiler & Pressure Vessel Code, UL, and CSD -1.
7.2. The pressure vessel shall be built in accordance with the ASME Boiler & Pressure Vessel Code for “Section I” and bear the appropriate ASME stamp, “S” stamp.
8. Efficiency Guarantee
8.1. The boiler package shall be guaranteed to operate at a minimum fuel to steam efficiency percentage of 80% at 100% of full load output.
9. Warranty 
9.1. All equipment shall be warranted for a period of 18 months from notice to ship or 12 months following initial operation (whichever occurs first) against defects in materials or workmanship.  
9.2. This warranty shall be dependent upon proper service, maintenance, and proper water treatment.  Warranty of expendable items such as handhole gaskets or sight glasses are not included. 
PAGE  
	[image: image1.jpg][ATINER

Lattner Boiler Company




	Lattner Boiler Company

1411 9th St. SW

Cedar Rapids, IA 52404

T:  (800) 345-1527

F:  (319) 366-0770

W:  www.lattner.com



[image: image1.jpg]